| School(s): |  |  | ### Mechanical Engineering and Mathematics |  |  |  |  |  | ### Group/PI: | ### MECH3890/School of Maths Lab/CDT Fluid Dynamics |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Risk Assessment Title: |  |  | ### Wave Tank Experiments |  |  |  |  |  | ### Assessment No: |  |
| Location of Activity: |  |  | ### Chemistry B13 |  |  |  |  |  | ### Name of Assessor: | ### Harvey Thompson and Onno Bokhove |
| Details of Activity: |  |  | ### Using wave tanks in Chemistry B13. 1) Perpsex wave tank (~2m length) involves an electrically powered oscillating plate of Perspex to create waves in a layer of water inside the tank, 2) a different smaller glass wave tank fixed on table. 3) Elastometer sheet. |  |  |  |  |  |  |  |
| ### Other assessments or documents which might also be required, X if needed: |  |  |  |  |  |  |  |  |  |  |
| Manual Handling | ☐ | COSHH |  | ☐ | Noise | ☐ | Other (please specify) |  |  |  |

| Signature of Assessor |  |
| --- | --- |
| Signature: | Date: 27/01/2026 |
| Signature of Manager(s) “The risks identified in this assessment are controlled so far as is reasonably practicable” |  |
| Signature: Harvey Thompson and Onno Bokhove | Date: 27/01/2026 |

| Date of Reassessment (Every two years minimum) | Are There Any Changes To The Activity Since The Last Assessment? | Signature of Manager |
| --- | --- | --- |
| 2028 |  |  |

| Name of Person Undertaking the Activity | School | Role | Signature | Date |
| --- | --- | --- | --- | --- |
| Harvey Thompon | Mechanical Engineering | Operator |  |  |
| Onno Bokhove | Mathematics | Professor | Onno Bokhove | 27-01-2026 |

| LIKELIHOOD (L) |  |  | SEVERITY (S) |  |
| --- | --- | --- | --- | --- |
| 5 | Inevitable |  | 5 | Very High –Death or permanent disability |
| 4 | Highly Likely |  | 4 | High – Serious injury (hospital admission) |
| 3 | Possible |  | 3 | Moderate - RIDDOR over 7 days |
| 2 | Unlikely |  | 2 | Slight - First Aid treatment |
| 1 | Remote Possibility |  | 1 | Nil - Very Minor |

| RISK RATING | ACTION |
| --- | --- |
| 1 – 4 | Broadly Acceptable - No action required |
| 5 – 9 | Moderate - Reduce risks if reasonably practicable |
| 10 – 15 | High Risk - Priority Action to be undertaken |
| 16 – 25 | Unacceptable - Action must be taken IMMEDIATELY |

| RISK RATING = LIKELIHOOD X SEVERITY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SEVERITY (S) | 5 | 5 | 10 | 15 | 20 | 25 |
|  | 4 | 4 | 8 | 12 | 16 | 20 |
|  | 3 | 3 | 6 | 9 | 12 | 15 |
|  | 2 | 2 | 4 | 6 | 8 | 10 |
|  | 1 | 1 | 2 | 3 | 4 | 5 |
|  |  | 1 | 2 | 3 | 4 | 5 |
|  |  | LIKELIHOOD (L) |  |  |  |  |

| PROCESS / ACTIVITY NO. | HAZARD e.g. Falling Objects, Fire, Explosion, Noise, Violence etc. | PERSONS AT RISK e.g. Employees, Contractors, Members of the public | POSSIBLE OUTCOME | RISK RATING WITHOUT CONTROLS (LXS) | CONTROL MEASURES e.g. Guards, Safe Systems of Work, Training, Instruction, Authorised Users, Competent Persons, Personal Protective Equipment (PPE) | RISK RATING WITH CONTROLS (LXS) | FURTHER ACTION REQUIRED? Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Electrocution | All | Death/injury | 3x5=15 | Cables taped in place. Ensure electrical / electronic equipment is at safe height and position away from tanks to avoid risk of electrocution from splashed water. (15V system) see further action required. Secured so no one walks between tank and socket (or taped to the ground). PAT testing/visual inspection of electronic equipment required before use. | 1x1=1 | BaseTeach BT-305 single output 150W Variable bench PSU 0-30VDC 0-5A resides away from the wave-flap motor which in enclosed above the tank. 230V AC, 50 Hz (+/-10%) 0 to 15V DC 0 to 3A IP42 to IP43 but item away from water. RCD: Residual Current Device is added. A RCD is a device that quickly breaks a circuit to prevent serious harm from an ongoing shock. RCDs are testable and resettable devices. |
| 2 | Falling objects (knocking over tanks) | All | Injury from slipping/falling | 2x3=6 | Tank 1) is secured on a table: nearly impossible to knock it off. Tanks 1) and 2) are heavy when filled due to its own weight so unlikely. | 1x1=1 | No |
| 3 | Tripping on cables | All | Injury from tripping | 2x3 | Systems located near the wall with socket so no cables to run across the room. Camera tripod to be stored when not in use. | . 1x1 | No |
| 3 | Lone working | All | Injuries when working alone. | 1x3 | No lone working is allowed. Students must work in the lab together so they can help one another if injured. No out of hours working is allowed. Normal working hours: 9am-5pm. Leave the door propped open. If an injury occurs and escalation is required, contact site manager Ian Blakely, I.J.Blakeley@leeds.ac.uk +44(0)113 343 6472 There is a telephone. this can be used to call emergency services or security. Be aware that there is a porters' office across the corridor that is usually occupied. | 1x1 | No |
| 4 | Sharp edges wavemaker | All | Minor injuries from cuts. | 2x2=4 | first aid box available in case of any minor cuts First Aid assistance is available by calling 0113 343 9393 and giving the room number. If an ambulance is required, call security on 0113 343 2222 and give the room number | 1x1=1 | No |
| 5 | Waste stream cleaned | All | There is no waste stream; clean water is used and tanks are emptied directly or for Wetropolis within circa 24-36 hrs so this is covered under clean-up. |  | No |  |  |
| 6 | Clean up | All | Illness and poor experiments | 2x1=2 | Wave tanks should be cleaned and emptied directly after use using disinfectant. The tank should be emptied and left dry (from a legionnaire's perspective and from a growth-viscosity perspective). The lab should be kept clean and tidy and all water spills should be wiped up immediately to avoid risk of slipping and injuries. | 1x1=1 | No |
| 7 | Ventilation | All | Potential illness and feeling unwell. | 2x1=2 | Open corner window to ventilate lab to ensure fresh air conditions. | 1x1=1 | No |

| ACTION If further action has been identified above, describe what needs to be done, by whom with agreed timescales for completion |  |  |  |
| --- | --- | --- | --- |
| Description | Who | Target Date | Completed On |
| COMMENTS AND INFORMATION Use this section to record any additional information, comments, dynamic risk assessment comments etc. |  |  |  |
| Students should inform the lab technical staff before commencing and after finishing the experiments. |  |  |  |

Process / Activity Log

| PROCESS / ACTIVITY | PROTOCOL REF. NO. e.g. SOP, COSHH, OOH/LONE WORKING |
| --- | --- |
| - Double check elastomer sheet risks. | 3 above. |